### Target Features List
### 1. Real-Time Monitoring and Plotting
- Use PyQtGraph (or matplotlib) to plot voltage/current over time for each channel.
- Show real-time readbacks from the instrument (query the device periodically).
- Display channel status indicators (Output ON/OFF, error states).
### 2. Save/Load Profiles
- Allow users to save voltage/current settings as profiles and load them later. like JSON.
- Implement buttons in the GUI for quick preset recalls.
### 3. Safety and Alerts
- Add software-level safety checks (e.g., max power or current limits).
- Display warnings or prevent setting dangerous combinations.
- Add an emergency stop button that instantly turns OFF all outputs.
### 4. Channel Grouping & Bulk Operations
- Control multiple channels simultaneously (e.g., set same voltage on all channels).
- Enable/disable channels in groups.
- Sync channels for complex test setups.
### 5. Logging
- Keep a log of all commands sent and values set, with timestamps.
- Save the logs to a file for post-test analysis.
### 6. Enhanced UI
- Add sliders for voltage and current to allow fine control without typing.
- Use dropdowns for channel selection.
- Display device ID, firmware version, connection status.
### 7. Device Auto-Discovery & Status
- Detect device connection/disconnection dynamically.
- Show device health, errors, or warnings if supported by your power supply.
### 8. Support for Other Instruments
- Add support for other Rohde & Schwarz devices or other power supplies.
- Create a modular interface for easy extension.
### 9. Automated Test Scripts
Create a scripting interface or macros so users can automate sequences of voltage/current changes.